Instructions for balancing

HTH, June 29th 2000

Issue 3

Ability 1 and similar meters

All potentiometer designations used for the Emeter setup stem from the sheet for the Mark VII and the one for the Ability 1. If you find designations in round brackets that means they differ in the two sheets. They still have the same function.

- Balancing working voltage: Between OV and +UB. The Voltage must be 7.5 Volt +/- 0.05. It is ajusted with Potentiometer R1 (if necessary R9).

- Allowance for the needle from Set between minimum and maximum amplification +/- one tooth (Tick = T). If this is not the case, regulate by adjusting the potentiometer „balance„ (R50, Bal.). The set position for this test is adjusted with sensitivity setting = 40.

- Replacing TA potentiometer (20K linear) (necessary because of Rock Slamming potentiometer). The three potentiometer

- (R46, MALE [VR]) for balancing TA=3 dead man,

- (R45, VR4 [Inf.], J) for balancing needle position with open PC terminals ¥ TA = 6.5,

- Trim fine (R44, Mark VII only)

to middle position. Replace Resistor R5 (R5 is a resistor of ca. 1,000 Ohm which is connected in front of the TA-potentiomenter) by a 5K x 10 potentiometer (potentiometer that can be turned 10 times around the axis to cover the span of 5,000 Ohm) and bring to middle position (from now on designated as R5‘). Needle on Set position and 5,000 Ohm at pc terminals, this equals the position 2.0 on the TA scale, so this is where the TA knob of the new TA potentiometer should point to. TA position 3.0 means 12,500 Ohm on the pc terminals and needle in set position, TA knob points to 3.0. Work on maximum sensitivity.

- Dead female. Connect 5K to pc terminals, let the TA knob point to 2 and pull needle with R5‘ towards set.

- Now open pc terminals, turn TA knob on 6.5 and turn R5‘until the needle appears on the scale. Then with the help of R45 (VR4 [Inf], J) pull needle to set or as close as possible to set, in no case into Rise area. (With „pull„ I mean turning the potentiometer.)

Repeat steps a) and b) until no more improvement possible and needle on open pc terminals as close as possible to set.

- Now the same for the dead male.Connect to PC terminals 12.5K, let TA knob point on 3 and turn R5‘ until needle on set.

- Now open pc terminals. Turn TA knob to 6.5 and turn R46 until needle on set or as close as possible towards set. If needle doesn’t come on the scale and sticks to the right end of the scale you can use R 5‘ to help. In no case pull into Rise area.

Repeat c) and d) until no more improvement possible and needle on open pc terminals as close as possible to set.

Repeat a) to d) until you have a stable point and on connecting 5,000 Ohm to the terminals the needle is on set and the TA potentiometer points on 2.0. This must be precise. If on connecting 12,500 Ohm needle is on set and the TA close to 3 (+/- 1 or 2 Ticks are tolerable), the meter is adjusted correctly.

At the end measure R5‘ and insert a series resistor (trim fine) of this exact resistance in front of the new TA potentiometer. In this way the manufacturing tolerances are compensated.

.

- Minimum Amplification: TA = 2, PC 5K, needle on Set position, now connect a 62,5K 1% in parallel to the 5K. The needle must move 2 teeth to the right on a sensitivity of „1„. This is adjusted with g (VR1).

- Maximum Amplification: TA = 2, PC 5K, needle on Set position, now connect a 935K 1% in parallel to the 5K. The needle must move 5 teeth to the right on a sensitivity of „40„. This is adjusted with G (VR6).

- It is helpful to construct a testing box. The testing box contains all resistors and switches to test and adjust an e-meter. A diagram is attached.

Virtual zero to which the measuring circuit relates; is different from „minus„ of the battery.

Tooth is 1/8 inch on the emeter dial.

Fine adjustment PC input, often not built in.